## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 08.04.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.04.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 08.04.2024 |  |  | checked on: | 12.04.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-03-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012406a-C1
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
This test report has been corrected and replaces DDU012406a-KF; reason: value given collector 3782 , specified at 3790, (collector not receifed)
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-3787 | 44824 | 2024-03-01 | 7:43 | 2024-03-27 | 11:19 | 627.6 | 0.002 | 1:2 | 0.258 | 1.1422 | 41.326
Ječná 39 | 3780 | 44824 | 2024-03-01 | 7:56 | 2024-03-27 | 8:14 | 624.3 | 0.002 | 1:2 | 0.399 | 1.7689 | 64.337
Ječná / Štěpánská | 3776 | 44824 | 2024-03-01 | 8:23 | 2024-03-27 | 8:29 | 624.1 | 0.002 | 1:2 | 0.317 | 1.4044 | 51.098
V Botanice 4 (KÚ) | 3784 | 44824 | 2024-03-01 | 8:40 | 2024-03-27 | 8:39 | 623.9833 | 0.002 | 1:2 | 0.317 | 1.4044 | 51.107
Plzeňská 38a | 3782 | 44824 | 2024-03-01 | 8:53 | 2024-03-27 | 8:47 | 623.9 | 0.002 | 1:2 | 0.378 | 1.6756 | 60.981
Radlická / Klicperova | 3790 |  | 2024-03-01 | 9:25 | 2024-03-27 |  | 624 | [5 empty] | sampler not received
Újezd | 3764 | 44824 | 2024-03-01 | 9:36 | 2024-03-27 | 9:32 | 623.9333 | 0.002 | 1:2 | 0.181 | 0.8 | 29.114
Smetanovo nábřeží | 3793 | 44824 | 2024-03-01 | 9:50 | 2024-03-27 | 9:45 | 623.9167 | 0.002 | 1:2 | 0.338 | 1.4978 | 54.51
nám. Republiky AIM | 3752 | 44824 | 2024-03-01 | 10:05 | 2024-03-27 | 9:54 | 623.8167 | 0.002 | 1:2 | 0.18 | 0.79556 | 28.958
Florenc | 3768 | 44824 | 2024-03-01 | 10:15 | 2024-03-27 | 10:05 | 623.8333 | 0.002 | 1:2 | 0.277 | 1.2267 | 44.649
Veletržní/Sochařská | 3792 |  | 2024-03-01 | 12:53 | 2024-03-27 |  | 624 | [5 empty] | sampler not received
Československé armády | 3783 | 44824 | 2024-03-01 | 13:06 | 2024-03-27 | 12:47 | 623.6833 | 0.002 | 1:2 | 0.223 | 0.98667 | 35.922
Patočkova | 3725 | 44824 | 2024-03-01 | 13:23 | 2024-03-27 | 13:08 | 623.75 | 0.002 | 1:2 | 0.273 | 1.2089 | 44.008
J.Želivského / Biskupcova | 3724 | 44824 | 2024-03-01 | 10:30 | 2024-03-27 | 10:16 | 623.7667 | 0.002 | 1:2 | 0.303 | 1.3422 | 48.86
Flora-mall | 3777 | 44824 | 2024-03-01 | 10:43 | 2024-03-27 | 10:27 | 623.7333 | 0.002 | 1:2 | 0.227 | 1.0044 | 36.566
Bělocerkevská | 3737 | 44824 | 2024-03-01 | 14:22 | 2024-03-27 | 14:11 | 623.8167 | 0.002 | 1:2 | 0.251 | 1.1111 | 40.444
V Holešovičkách 36 | 3754 | 44824 | 2024-03-01 | 13:47 | 2024-03-27 | 13:25 | 623.6333 | 0.002 | 1:2 | 0.352 | 1.56 | 56.8
Na Truhlářce 60 | 3775 | 44824 | 2024-03-01 | 13:52 | 2024-03-27 | 13:30 | 623.6333 | 0.002 | 1:2 | 0.161 | 0.71111 | 25.892
Spořilov, Prague | 3785 | 44824 | 2024-03-01 | 14:39 | 2024-03-27 | 14:27 | 623.8 | 0.002 | 1:2 | 0.266 | 1.1778 | 42.872
Budějovická | 3774 | 44824 | 2024-02-23 | 13:13 | 2024-03-22 | 11:52 | 670.65 | 0.002 | 1:2 | 0.327 | 1.4489 | 49.056

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012406a-C1
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-3787 | 2024-03-01 | 7:43 | 2024-03-27 | 11:19 | 8.21 | 982.49 | PRG01
Ječná 39 | 3780 | 2024-03-01 | 7:56 | 2024-03-27 | 8:14 | 8.21 | 982.49 | PRG02
Ječná / Štěpánská | 3776 | 2024-03-01 | 8:23 | 2024-03-27 | 8:29 | 8.21 | 982.49 | PRG03
V Botanice 4 (KÚ) | 3784 | 2024-03-01 | 8:40 | 2024-03-27 | 8:39 | 8.21 | 982.49 | PRG04
Plzeňská 38a | 3782 | 2024-03-01 | 8:53 | 2024-03-27 | 8:47 | 8.21 | 982.49 | PRG05
Radlická / Klicperova | 3790 | 2024-03-01 | 9:25 | 2024-03-27 |  |  |  | lost PRG06
Újezd | 3764 | 2024-03-01 | 9:36 | 2024-03-27 | 9:32 | 8.21 | 982.49 | PRG07
Smetanovo nábřeží | 3793 | 2024-03-01 | 9:50 | 2024-03-27 | 9:45 | 8.21 | 982.49 | PRG08
nám. Republiky AIM | 3752 | 2024-03-01 | 10:05 | 2024-03-27 | 9:54 | 8.21 | 982.49 | PRG09
Florenc | 3768 | 2024-03-01 | 10:15 | 2024-03-27 | 10:05 | 8.21 | 982.49 | PRG10
Veletržní/Sochařská | 3792 | 2024-03-01 | 12:53 | 2024-03-27 |  |  |  | lost PRG11
Československé armády | 3783 | 2024-03-01 | 13:06 | 2024-03-27 | 12:47 | 8.21 | 982.49 | PRG12
Patočkova | 3725 | 2024-03-01 | 13:23 | 2024-03-27 | 13:08 | 8.21 | 982.49 | PRG13
J.Želivského / Biskupcova | 3724 | 2024-03-01 | 10:30 | 2024-03-27 | 10:16 | 8.21 | 982.49 | PRG14
Flora-mall | 3777 | 2024-03-01 | 10:43 | 2024-03-27 | 10:27 | 8.21 | 982.49 | PRG15
Bělocerkevská | 3737 | 2024-03-01 | 14:22 | 2024-03-27 | 14:11 | 8.21 | 982.49 | PRG16
V Holešovičkách 36 | 3754 | 2024-03-01 | 13:47 | 2024-03-27 | 13:25 | 8.21 | 982.49 | PRG17
Na Truhlářce 60 | 3775 | 2024-03-01 | 13:52 | 2024-03-27 | 13:30 | 8.21 | 982.49 | PRG18
Spořilov, Prague | 3785 | 2024-03-01 | 14:39 | 2024-03-27 | 14:27 | 8.21 | 982.49 | PRG19
Budějovická | 3774 | 2024-02-23 | 13:13 | 2024-03-22 | 11:52 | 7.38 | 983.39 | PRG20