## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 14.05.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.05.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 14.05.2024 |  |  | checked on: | 17.05.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | April 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012409b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-3755 | 44824 | 2024-04-02 | 8:05 | 2024-05-02 | 8:03 | 719.9667 | 0.002 | 1:2 | 0.266 | 1.1778 | 38.9
Ječná 39 | 3791 | 44824 | 2024-04-02 | 8:19 | 2024-05-02 | 8:12 | 719.8833 | 0.002 | 1:2 | 0.471 | 2.0889 | 69
Ječná / Štěpánská | 3717 | 44824 | 2024-04-02 | 8:36 | 2024-05-02 | 8:32 | 719.9333 | 0.002 | 1:2 | 0.417 | 1.8489 | 61.1
V Botanice 4 (KÚ) | 3756 | 44824 | 2024-04-02 | 8:48 | 2024-05-02 | 8:41 | 719.8833 | 0.002 | 1:2 | 0.392 | 1.7378 | 57.4
Plzeňská 38a | 3767 | 44824 | 2024-04-02 | 8:54 | 2024-05-02 | 8:47 | 719.8833 | 0.002 | 1:2 | 0.461 | 2.0444 | 67.5
Radlická / Klicperova | 74 | 45245 | 2024-04-02 | 12:32 | 2024-05-02 | 9:20 | 716.8 | 0.001 | 1:2 | 0.391 | 1.7356 | 57.6
Újezd | 3730 | 44824 | 2024-04-02 | 9:44 | 2024-05-02 | 9:36 | 719.8667 | 0.002 | 1:2 | 0.19 | 0.84 | 27.7
Smetanovo nábřeží | 113 |  | 2024-04-02 | 9:52 | [8 empty] | sampler not received
nám. Republiky AIM | 52 | 45245 | 2024-04-02 | 10:00 | 2024-05-02 | 10:03 | 720.05 | 0.001 | 1:2 | 0.159 | 0.70444 | 23.3
Florenc | 116 | 45245 | 2024-04-02 | 10:06 | 2024-05-02 | 10:30 | 720.4 | 0.001 | 1:2 | 0.343 | 1.5222 | 50.2
Veletržní/Sochařská | 62 | 45245 | 2024-04-02 | 11:37 | 2024-05-02 | 10:20 | 718.7167 | 0.001 | 1:2 | 0.308 | 1.3667 | 45.2
Československé armády | 3759 | 44824 | 2024-04-02 | 11:51 | 2024-05-02 | 12:43 | 720.8667 | 0.002 | 1:2 | 0.228 | 1.0089 | 33.3
Patočkova | 3761 | 44824 | 2024-04-02 | 12:10 | 2024-05-02 | 12:57 | 720.7833 | 0.002 | 1:2 | 0.344 | 1.5244 | 50.3
J.Želivského / Biskupcova | 92 | 45245 | 2024-04-02 | 10:15 | 2024-05-02 | 10:42 | 720.45 | 0.001 | 1:2 | 0.354 | 1.5711 | 51.9
Flora-mall | 145 | 45245 | 2024-04-02 | 10:24 | 2024-05-02 | 10:52 | 720.4667 | 0.001 | 1:2 | 0.262 | 1.1622 | 38.4
Bělocerkevská | 3796 | 44824 | 2024-04-02 | 13:04 | 2024-05-02 | 13:50 | 720.7667 | 0.002 | 1:2 | 0.293 | 1.2978 | 42.8
V Holešovičkách 36 | 59 | 45245 | 2024-04-02 | 12:31 | 2024-05-02 | 13:20 | 720.8167 | 0.001 | 1:2 | 0.463 | 2.0556 | 67.8
Na Truhlářce 60 | 3701 | 44824 | 2024-04-02 | 12:35 | 2024-05-02 | 13:27 | 720.8667 | 0.002 | 1:2 | 0.159 | 0.70222 | 23.2
Spořilov, Prague | 3766 | 44824 | 2024-04-02 | 13:31 | 2024-05-02 | 14:07 | 720.6 | 0.002 | 1:2 | 0.373 | 1.6533 | 54.6
Budějovická | 3743 | 44824 | 2024-03-22 | 11:52 | 2024-04-19 | 12:25 | 672.55 | 0.002 | 1:2 | 0.291 | 1.2889 | 45.5

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012409b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-3755 | 2024-04-02 | 8:05 | 2024-05-02 | 8:03 | 12.61 | 984.94 | PRG01
Ječná 39 | 3791 | 2024-04-02 | 8:19 | 2024-05-02 | 8:12 | 12.61 | 984.94 | PRG02
Ječná / Štěpánská | 3717 | 2024-04-02 | 8:36 | 2024-05-02 | 8:32 | 12.61 | 984.94 | PRG03
V Botanice 4 (KÚ) | 3756 | 2024-04-02 | 8:48 | 2024-05-02 | 8:41 | 12.61 | 984.94 | PRG04
Plzeňská 38a | 3767 | 2024-04-02 | 8:54 | 2024-05-02 | 8:47 | 12.61 | 984.94 | PRG05
Radlická / Klicperova | 74 | 2024-04-02 | 12:32 | 2024-05-02 | 9:20 | 12.61 | 984.94 | PRG06
Újezd | 3730 | 2024-04-02 | 9:44 | 2024-05-02 | 9:36 | 12.61 | 984.94 | PRG07
Smetanovo nábřeží | 113 | 2024-04-02 | 9:52 |  |  |  |  | sensor lost
nám. Republiky AIM | 52 | 2024-04-02 | 10:00 | 2024-05-02 | 10:03 | 12.61 | 984.94 | PRG09
Florenc | 116 | 2024-04-02 | 10:06 | 2024-05-02 | 10:30 | 12.61 | 984.94 | PRG10
Veletržní/Sochařská | 62 | 2024-04-02 | 11:37 | 2024-05-02 | 10:20 | 12.61 | 984.94 | PRG11
Československé armády | 3759 | 2024-04-02 | 11:51 | 2024-05-02 | 12:43 | 12.61 | 984.94 | PRG12
Patočkova | 3761 | 2024-04-02 | 12:10 | 2024-05-02 | 12:57 | 12.61 | 984.94 | PRG13
J.Želivského / Biskupcova | 92 | 2024-04-02 | 10:15 | 2024-05-02 | 10:42 | 12.61 | 984.94 | PRG14
Flora-mall | 145 | 2024-04-02 | 10:24 | 2024-05-02 | 10:52 | 12.61 | 984.94 | PRG15
Bělocerkevská | 3796 | 2024-04-02 | 13:04 | 2024-05-02 | 13:50 | 12.61 | 984.94 | PRG16
V Holešovičkách 36 | 59 | 2024-04-02 | 12:31 | 2024-05-02 | 13:20 | 12.61 | 984.94 | PRG17
Na Truhlářce 60 | 3701 | 2024-04-02 | 12:35 | 2024-05-02 | 13:27 | 12.61 | 984.94 | PRG18
Spořilov, Prague | 3766 | 2024-04-02 | 13:31 | 2024-05-02 | 14:07 | 12.61 | 984.94 | PRG19
Budějovická | 3743 | 2024-03-22 | 11:52 | 2024-04-19 | 12:25 | 12.81 | 980.31 | PRG20