## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 12.07.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 16.07.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan, N. Carić |  |  |  | pollutant: | NO2 |  | date: | 15.07.2024 |  |  | checked on: | 17.07.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: | 2024-06-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012421a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-66 | 45245 | 2024-06-02 | 14:29 | 2024-07-01 | 18:40 | 700.1833 | 0.001 | 1:2 | 0.179 | 0.79333 | 25.727
Hrabůvka zastávka | 86 | 45245 | 2024-06-02 | 14:50 | 2024-07-01 | 19:10 | 700.3333 | 0.001 | 1:2 | 0.107 | 0.47333 | 15.347
Hrabůvka odborářská ulice | 87 | 45245 | 2024-06-02 | 14:59 | 2024-07-01 | 19:05 | 700.1 | 0.001 | 1:2 | 0.082 | 0.36222 | 11.748
Hlučínská / Koksární | 84 | 45245 | 2024-06-02 | 14:08 | 2024-07-01 | 18:27 | 700.3167 | 0.001 | 1:2 | 0.152 | 0.67333 | 21.832
Sokolská Soud | 100 | 45245 | 2024-06-02 | 14:18 | 2024-07-01 | 18:35 | 700.2833 | 0.001 | 1:2 | 0.125 | 0.55333 | 17.942
Bělský les - přechod | 85 | 45245 | 2024-06-02 | 14:34 | 2024-07-01 | 19:00 | 700.4333 | 0.001 | 1:2 | 0.19 | 0.84222 | 27.303
Bílovecká - (Svinov) | 64 | 45245 | 2024-06-02 | 13:58 | 2024-07-01 | 18:15 | 700.2833 | 0.001 | 1:2 | 0.163 | 0.72222 | 23.418
Rudná / Zkrácená | 75 | 45245 | 2024-06-02 | 13:19 | 2024-07-01 | 17:50 | 700.5167 | 0.001 | 1:2 | 0.13 | 0.57556 | 18.656
Rudná 2 | 89 | 45245 | 2024-06-02 | 13:29 | 2024-07-01 | 17:58 | 700.4833 | 0.001 | 1:2 | 0.165 | 0.73111 | 23.699
17. Listopadu Poruba | 58 | 45245 | 2024-06-02 | 13:42 | 2024-07-01 | 18:07 | 700.4167 | 0.001 | 1:2 | 0.169 | 0.74889 | 24.278

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012421a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-66 | 2024-06-02 | 14:29 | 2024-07-01 | 18:40 | 19.5 | 985.76 | OVA1
Hrabůvka zastávka | 86 | 2024-06-02 | 14:50 | 2024-07-01 | 19:10 | 19.5 | 985.76 | OVA2
Hrabůvka odborářská ulice | 87 | 2024-06-02 | 14:59 | 2024-07-01 | 19:05 | 19.5 | 985.76 | OVA3
Hlučínská / Koksární | 84 | 2024-06-02 | 14:08 | 2024-07-01 | 18:27 | 19.5 | 985.76 | OVA4
Sokolská Soud | 100 | 2024-06-02 | 14:18 | 2024-07-01 | 18:35 | 19.5 | 985.76 | OVA5
Bělský les - přechod | 85 | 2024-06-02 | 14:34 | 2024-07-01 | 19:00 | 19.5 | 985.76 | OVA6
Bílovecká - (Svinov) | 64 | 2024-06-02 | 13:58 | 2024-07-01 | 18:15 | 19.5 | 985.76 | OVA7
Rudná / Zkrácená | 75 | 2024-06-02 | 13:19 | 2024-07-01 | 17:50 | 19.5 | 985.76 | OVA8
Rudná 2 | 89 | 2024-06-02 | 13:29 | 2024-07-01 | 17:58 | 19.5 | 985.76 | OVA9
17. Listopadu Poruba | 58 | 2024-06-02 | 13:42 | 2024-07-01 | 18:07 | 19.5 | 985.76 | OVA10