## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 07.08.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.08.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 08.08.2024 |  |  | checked on: | 13.08.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: | 2024-07-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012422a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-193 | 45245 | 2024-06-28 | 8:05 | 2024-07-25 | 9:47 | 649.7 | 0.001 | 1:2 | 0.216 | 0.95778 | 33.474
Ječná 39 | 180 | 45245 | 2024-06-28 | 8:12 | 2024-07-29 | 8:32 | 744.3333 | 0.001 | 1:2 | 0.419 | 1.86 | 56.741
Ječná / Štěpánská | 176 | 45245 | 2024-06-28 | 8:30 | 2024-07-29 | 8:52 | 744.3667 | 0.001 | 1:2 | 0.341 | 1.5133 | 46.164
V Botanice 4 (KÚ) | 158 | 45245 | 2024-06-28 | 8:37 | 2024-07-29 | 9:03 | 744.4333 | 0.001 | 1:2 | 0.326 | 1.4467 | 44.126
Plzeňská 38a | 160 | 45245 | 2024-06-28 | 8:48 | 2024-07-29 | 9:23 | 744.5833 | 0.001 | 1:2 | 0.411 | 1.8244 | 55.638
Radlická / Klicperova | 175 | 45245 | 2024-06-28 | 9:24 | 2024-07-29 | 9:44 | 744.3333 | 0.001 | 1:2 | 0.363 | 1.6111 | 49.149
Újezd | 189 | 45245 | 2024-06-28 | 9:42 | 2024-07-29 | 9:54 | 744.2 | 0.001 | 1:2 | 0.14 | 0.62 | 18.917
Smetanovo nábřeží | 169 | 45245 | 2024-06-28 | 10:19 | 2024-07-25 | 9:25 | 647.1 | 0.001 | 1:2 | 0.354 | 1.5711 | 55.13
nám. Republiky AIM | 178 | 45245 | 2024-06-28 | 10:32 | 2024-07-25 | 9:35 | 647.05 | 0.001 | 1:2 | 0.098 | 0.43333 | 15.207
Florenc | 164 | 45245 | 2024-06-28 | 10:54 | 2024-07-29 | 10:41 | 743.7833 | 0.001 | 1:2 | 0.296 | 1.3133 | 40.094
Veletržní/Sochařská | 183 | 45245 | 2024-06-28 | 10:45 | 2024-07-29 | 10:27 | 743.7 | 0.001 | 1:2 | 0.188 | 0.83333 | 25.443
Československé armády | 191 | 45245 | 2024-06-29 | 9:13 | 2024-07-29 | 14:10 | 724.95 | 0.001 | 1:2 | 0.172 | 0.76222 | 23.874
Patočkova | 166 | 45245 | 2024-06-29 | 9:25 | 2024-07-29 | 14:25 | 725 | 0.001 | 1:2 | 0.305 | 1.3533 | 42.386
J.Želivského / Biskupcova | 153 | 45245 | 2024-06-28 | 11:04 | 2024-07-29 | 10:55 | 743.85 | 0.001 | 1:2 | 0.364 | 1.6156 | 49.316
Flora-mall | 173 | 45245 | 2024-06-28 | 11:14 | 2024-07-29 | 11:06 | 743.8667 | 0.001 | 1:2 | 0.211 | 0.93556 | 28.558
Bělocerkevská | 156 | 45245 | 2024-06-29 | 10:29 | 2024-07-29 | 15:14 | 724.75 | 0.001 | 1:2 | 0.219 | 0.97111 | 30.425
V Holešovičkách 36 | 171 | 45245 | 2024-06-29 | 10:05 | 2024-07-29 | 14:46 | 724.6833 | 0.001 | 1:2 | 0.366 | 1.6244 | 50.899
Na Truhlářce 60 | 181 | 45245 | 2024-06-29 | 10:09 | 2024-07-29 | 14:50 | 724.6833 | 0.001 | 1:2 | 0.121 | 0.53556 | 16.781
Spořilov, Prague | 174 | 45245 | 2024-06-29 | 10:40 | 2024-07-29 | 15:26 | 724.7667 | 0.001 | 1:2 | 0.298 | 1.3222 | 41.425
SSPSaG | 154 | 45245 | 2024-06-28 | 8:36 | 2024-07-29 | 9:11 | 744.5833 | 0.001 | 1:2 | 0.112 | 0.49556 | 15.112

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012422a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-193 | 2024-06-28 | 8:05 | 2024-07-25 | 9:47 |  |  | PRG01
Ječná 39 | 180 | 2024-06-28 | 8:12 | 2024-07-29 | 8:32 |  |  | PRG02
Ječná / Štěpánská | 176 | 2024-06-28 | 8:30 | 2024-07-29 | 8:52 |  |  | PRG03
V Botanice 4 (KÚ) | 158 | 2024-06-28 | 8:37 | 2024-07-29 | 9:03 |  |  | PRG04
Plzeňská 38a | 160 | 2024-06-28 | 8:48 | 2024-07-29 | 9:23 |  |  | PRG05
Radlická / Klicperova | 175 | 2024-06-28 | 9:24 | 2024-07-29 | 9:44 |  |  | PRG06
Újezd | 189 | 2024-06-28 | 9:42 | 2024-07-29 | 9:54 |  |  | PRG07
Smetanovo nábřeží | 169 | 2024-06-28 | 10:19 | 2024-07-25 | 9:25 |  |  | PRG08
nám. Republiky AIM | 178 | 2024-06-28 | 10:32 | 2024-07-25 | 9:35 |  |  | PRG09
Florenc | 164 | 2024-06-28 | 10:54 | 2024-07-29 | 10:41 |  |  | PRG10
Veletržní/Sochařská | 183 | 2024-06-28 | 10:45 | 2024-07-29 | 10:27 |  |  | PRG11
Československé armády | 191 | 2024-06-29 | 9:13 | 2024-07-29 | 14:10 |  |  | PRG12
Patočkova | 166 | 2024-06-29 | 9:25 | 2024-07-29 | 14:25 |  |  | PRG13
J.Želivského / Biskupcova | 153 | 2024-06-28 | 11:04 | 2024-07-29 | 10:55 |  |  | PRG14
Flora-mall | 173 | 2024-06-28 | 11:14 | 2024-07-29 | 11:06 |  |  | PRG15
Bělocerkevská | 156 | 2024-06-29 | 10:29 | 2024-07-29 | 15:14 |  |  | PRG16
V Holešovičkách 36 | 171 | 2024-06-29 | 10:05 | 2024-07-29 | 14:46 |  |  | PRG17
Na Truhlářce 60 | 181 | 2024-06-29 | 10:09 | 2024-07-29 | 14:50 |  |  | PRG18
Spořilov, Prague | 174 | 2024-06-29 | 10:40 | 2024-07-29 | 15:26 |  |  | PRG19
SSPSaG | 154 | 2024-06-28 | 8:36 | 2024-07-29 | 9:11 |  |  | PRG20