## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 26.11.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 27.11.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 26.11.2024 |  |  | checked on: | 29.11.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | 2024-10-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012433a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-206 | 45245 | 2024-09-28 | 13:00 | 2024-11-07 | 18:31 | 965.5167 | 0.001 | 1:2 | 0.293 | 1.3 | 30.573 | specs not met: exp. time;
Hrabůvka zastávka | 215 | 45245 | 2024-09-28 | 11:20 | 2024-11-07 | 18:06 | 966.7667 | 0.001 | 1:2 | 0.219 | 0.97111 | 22.809 | specs not met: exp. time;
Hrabůvka odborářská ulice | 231 | 45245 | 2024-09-28 | 11:15 | 2024-11-07 | 18:04 | 966.8167 | 0.001 | 1:2 | 0.179 | 0.79333 | 18.632 | specs not met: exp. time;
Hlučínská / Koksární | 234 | 45245 | 2024-09-28 | 12:41 | 2024-11-07 | 17:19 | 964.6333 | 0.001 | 1:2 | 0.277 | 1.2289 | 28.927 | specs not met: exp. time;
Sokolská Soud | 250 |  | 2024-09-28 | 12:55 | [8 empty] | sampler not received
Bělský les - přechod | 229 | 45245 | 2024-09-28 | 11:31 | 2024-11-07 | 17:53 | 966.3667 | 0.001 | 1:2 | 0.316 | 1.4022 | 32.948 | specs not met: exp. time;
Bílovecká - (Svinov) | 216 | 45245 | 2024-09-28 | 12:28 | 2024-11-07 | 17:05 | 964.6167 | 0.001 | 1:2 | 0.253 | 1.1222 | 26.417 | specs not met: exp. time;
Ocelářská | 232 | 45245 | 2024-09-28 | 11:51 | 2024-11-07 | 17:36 | 965.75 | 0.001 | 1:2 | 0.386 | 1.7133 | 40.284 | specs not met: exp. time;
Rudná 2 | 218 | 45245 | 2024-09-28 | 12:00 | 2024-11-07 | 16:45 | 964.75 | 0.001 | 1:2 | 0.291 | 1.2911 | 30.388 | specs not met: exp. time;
17. Listopadu Poruba | 202 | 45245 | 2024-09-28 | 12:11 | 2024-11-07 | 16:54 | 964.7167 | 0.001 | 1:2 | 0.271 | 1.2022 | 28.297 | specs not met: exp. time;

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012433a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-206 | 2024-09-28 | 13:00 | 2024-11-07 | 18:31 | 9.81 | 992.57 | OVA1
Hrabůvka zastávka | 215 | 2024-09-28 | 11:20 | 2024-11-07 | 18:06 | 9.81 | 992.57 | OVA2
Hrabůvka odborářská ulice | 231 | 2024-09-28 | 11:15 | 2024-11-07 | 18:04 | 9.81 | 992.57 | OVA3
Hlučínská / Koksární | 234 | 2024-09-28 | 12:41 | 2024-11-07 | 17:19 | 9.81 | 992.57 | OVA4
Sokolská Soud | 250 | 2024-09-28 | 12:55 |  |  |  |  | OVA5; missing
Bělský les - přechod | 229 | 2024-09-28 | 11:31 | 2024-11-07 | 17:53 | 9.81 | 992.57 | OVA6
Bílovecká - (Svinov) | 216 | 2024-09-28 | 12:28 | 2024-11-07 | 17:05 | 9.81 | 992.57 | OVA7
Ocelářská | 232 | 2024-09-28 | 11:51 | 2024-11-07 | 17:36 | 9.81 | 992.57 | OVA8
Rudná 2 | 218 | 2024-09-28 | 12:00 | 2024-11-07 | 16:45 | 9.81 | 992.57 | OVA9
17. Listopadu Poruba | 202 | 2024-09-28 | 12:11 | 2024-11-07 | 16:54 | 9.81 | 992.57 | OVA10